Tender form

[To be completed on paper bearing the Tenderer’s letterhead]

To: Nordisk Sikkerhet AS

Lommedalsveien 230

Baerums Verk, 1353

Norway

referred to as the Contracting Authority

Subject: Tender

Dear Sir/Madam,

We hereby accept and agree with the terms and conditions of the Contract set forth in the tender documents for [Ref. number of tender procedure from Doffin and TED Europa tender databases] and propose to supply the X-Ray Diffractometer, and provide the ancillary services under the above-said contract at prices of:

| Item name | Quantity | Brand/Model | Price* per unit NOK | Total NOK |
| --- | --- | --- | --- | --- |
| Lot: X-Ray Diffractometer |
| X-Ray Diffrectometer, including: | 1 complex |  |  |  |
| 1.1 Vertical double circular goniometer | 1 |  |  |  |
| 1.2. X-ray tube with program-controlled electromagnetic shutter | 1 |  |  |  |
| 1.3. X-ray tube cooling system | 1 |  |  |  |
| 1.4. Rotating powder sample holder | 1 |  |  |  |
| 1.5. X-ray collimation system with a set of changeable slits | 1 |  |  |  |
| 1.6. β-filter | 1 |  |  |  |
| 1.7. Protective cabinet | 1 |  |  |  |
| 1.N. … | .. |  |  |  |
| 2. Unit for installing two detectors | 1 |  |  |  |
| 3. Scintillation detection unit NaI (Tl) | 1 |  |  |  |
| 4. Linear stripped position-sensitive detector (equipped with a holder, slit system and primary beam trap) | 1 |  |  |  |
| 5. Unit for measurements on reflection/transparency of various types of samples | 1 |  |  |  |
| 6. High-temperature chamber with rotating sample holder (up to 1200 oC or higher); | 1 |  |  |  |
| 7. Low- temperature and moisture chamber (up to minus 180 oC or lower); | 1 |  |  |  |
| 8. Reference sample (polycrystalline quartz or equivalent) | 1 |  |  |  |
| 9. Set of additional holders/cuvettes: | 1 set |  |  |  |
| 9.1 Silicon monocrystalline holder for studying trace amounts of matter | 1 |  |  |  |
| 9.2 Silicon monocrystalline cuvette for calibration against the reference | 1 |  |  |  |
| 9.3 Cuvette for bulk samples (with variable depth) | 1 |  |  |  |
| 10. Personal computer | 1 |  |  |  |
| 11. Specialized software for data treatment and analysis (for 5 years of operation) | 1 |  |  |  |
| 12. Spare parts and accessories | 1 set |  |  |  |
| N. … | … |  |  |  |
| Total – Equipment |  |
| Warranty service |  |
| Installation (assembling, mounting, starting-up and adjustment) |  |
| Training to personnel |  |
| Total |  |

Note: * - Price DDP delivered to Technical support organization of NRSA, Dushanbe, Tajikistan (excluding VAT and import duties)

We are making this tender [in our own right / as member in the consortium led by <name of the leader/ourselves>].

We offer to deliver, in accordance with the terms of the tender documents and the conditions and time limits laid down, without reserve or restriction, the above-mentioned Equipment.

The price of our tender including warranty service and training is:

Lot: [……] [amount in words and figures]

Until a formal contract is prepared and executed, this tender, together with your written acceptance thereof and your notification of award, shall constitute a binding contract between us.  We understand that you are not bound to accept the lowest evaluated tender or any tender you may receive.

We note that the Contracting Authority is not bound to proceed with this tender and that it reserves the right to award only a part of the contract.

We hereby agree that this Tender is valid for a period of one hundred and twenty (120) calendar days from the date fixed for the submission of tenders.  We further agree to extend the period of validity of this Tender for additional thirty (30) calendar days without adjustment to the price should such an extension be deemed necessary by you.

We herby agree that all rights and discretion given to Nordisk Sikkerhet AS under this tender also apply to the Nuclear and Radiation Safety Agency of the Republic of Tajikistan.

Authorized person on behalf of the Tenderer:

Name: ____________________________________________

Title: ______________________________________________

Signature: ________________________________________

Date: ______________________________________________